## Sheet1
Law No. 23-HS-1186 SOQ No. 23/30004
SOQ for Materials and Installations of I/A OWTS Advertised: December 15, 2023
Suffolk County Department of Health Services
Attachment C
Contractor's Name: _____________________________________________________________________________________________
Date Submitted: _______________________________________________________________________________________________
Miscellaneous Costs
Respondents are required to submit a list of miscellaneous costs using this template. ***Any costs not included or omitted will NOT be considered an eligible cost under the grant program.***
Item | Description | Units (please specify) | Unit Price
Mobilization and Access
1 | Private Utility Markouts
2 | Narrow roadway access limited machine access Demurrage
3 | Vegetation / Brush Removal / Tree Pruning to allow access for system installation
4 | Excavate, remove and dispose of stumps
5 | Fence removal and re-set
6 | Relocate and reset sheds or other small structures
7 | Soft ground / Access protection matting
8 | Added Surface improvements RCA base | CY
9 | Use Dunnage to protect existing conditions
10 | Additional equipment required for access | per day
11 | Crane, Excavator or other equip > 25 ton mobilization | per day
12 | Crane for deep excavations | per day
13 | Crane Lifting for long-reach or heavy load applications | per day
| Installation Conflicts | Units (please specify) | Unit Price
14 | Remove existing house trap
15 | Re-route interior plumbing
16 | Install Exterior Pump chamber to lift effluent to new system
17 | Install pump pit to route interior plumbing
18 | Reinforce or install H-20 Loading Improvements - top bearing slab
19 | H-20 Loading HD Casting
20 | Dewater < 45 GPM No permit (with digging box)
21 | Concrete Anti Floatation Systems
22 | Installation of (2) Helical Piles for anti buoyancy
| Installation Extras | Units (please specify) | Unit Price
23 | Hourly Labor Rate | Hourly
24 | If excavation inspection is required (poor soils, PSD, etc.)
25 | Install new cast iron plumbing through foundation
26 | Supply water to fill tank if not available on site
27 | Import Sand (bankrun) | CY
28 | Import Sand (C33 for shallow drain fields) | CY
29 | Import Fill / Grading Material | CY
30 | Export and Dispose of Clean Fill | CY
31 | Export and Dispose of Unsuitable Fill Removals (Clay, Bog, etc.) | CY
32 | Export Concrete | CY
33 | Export Asphalt | CY
34 | Pumping, Decommissioning, and Abandonment of Existing OWTS (Assuming two existing structures)
35 | Abandon additional existing structures / pools | per structure
36 | Additional pump out per 1,000 gallons | 1,000 Gallons
37 | Removal and disposal of existing cesspools/septic tanks | per structure
38 | Field Area protection Fence – Split Rail
39 | Low-line out Shoring System installation face of shoring (Includes OSHA Trench and Shore Certified Supervisor)
40 | Low-line Additional excavation depth > 7 Ft (combined with shoring above)
41 | Retaining walls (concrete) | CY
42 | Retaining walls (wood) | CF
43 | Site Controls - Hay Bale
44 | Site Controls - Silt Fence
49 | Electrical per FT price over 50' for control panel
45 | Conduit runs > 40 feet (Remote Panels)
46 | Generator Transfer Switch – System only
47 | Communications Panel upgrade
48 | WIFI Messenger
49 | Install tandem breaker in existing panel
50 | Install new electrical sub-panel if needed to meet code.
51 | Price per clean out
52 | Additional riser cost over 6" (poly)
53 | Additional riser cost over 6" (concrete)
54 | Poly distribution box
55 | Concrete Distribution Manhole
56 | Change-direction Manhole
57 | Poly pump tank
58 | 4' diameter precast pump station
59 | 8' diameter leaching pool precast (in addition to first precast pool) | VF
60 | 10' diameter leaching pool precast (in addition to first precast pool) | VF
61 | Additional 8' Slab
62 | Additional 10' Slab
63 | Cement Cover
64 | Leaching galley upcharge (instead of first precast pool)
65 | Gravity trench system upcharge (instead of first precast pool)
| Operation & Maintenance (O&M) (complete if applicable) | Units (please specify) | Unit Price
66 | Pump Station O&M
67 | Geomat PSD O&M Three-year O&M Contract
68 | Infiltrator PSD O&M Three-year O&M Contract
69 | Lined NRB Three-year O&M Contract
70 | Hydro-Action AN400 Three-year O&M Contract
71 | Hydro-Action AN500 Three-year O&M Contract
72 | Hydro-Action AN600 Three-year O&M Contract
73 | Hydro-Action AN800 Three-year O&M Contract
74 | Hydro-Action AN1100 Three-year O&M Contract
75 | FujiClean CEN5 Three-year O&M Contract
76 | FujiClean CEN7 Three-year O&M Contract
77 | FujiClean CEN10 Three-year O&M Contract
78 | FujiClean CEN14 Three-year O&M Contract
79 | FujiClean CEN21 Three-year O&M Contract
79 | Orenco AX20 Three-year O&M Contract
80 | Norweco Singulair TNT 500/600 Three-year O&M Contract
81 | Norweco Singulair TNT 700/800 Three-year O&M Contract
82 | Norweco Singulair TNT 1000 Three-year O&M Contract
83 | Norweco Singulair TNT 1250 Three-year O&M Contract
84 | Norweco Singulair TNT 1500 Three-year O&M Contract
85 | Norweco Hydro-Kinetic HK 600 Three-year O&M Contract
86 | Norweco Hydro-Kinetic HK 800 Three-year O&M Contract
87 | Norweco Hydro-Kinetic HK 1000 Three-year O&M Contract
88 | Norweco Hydro-Kinetic HK 1250 Three-year O&M Contract
89 | Norweco Hydro-Kinetic HK 1500 Three-year O&M Contract
90 | SeptiTech STAAR 0.5 Three-year O&M Contract
91 | SeptiTech STAAR 0.75 Three-year O&M Contract
92 | SeptiTech STAAR 1.0 Three-year O&M Contract
93 | SeptiTech STAAR 1.2 Three-year O&M Contract
94 | SeptiTech STAAR 1.5 Three-year O&M Contract
95 | SeptiTech STAAR 3.0 Three-year O&M Contract
96 | SeptiTech STAAR 3.5 Three-year O&M Contract
97 | SeptiTech STAAR 4.0 Three-year O&M Contract